**South Yorkshire Fire and Rescue**

**Barnsley District - Public Register of Notices Served – April 2019 to March 2021**

The Enforcement Register – This register details Enforcement, Prohibition and Alteration Notices that have been served on business premises under the [**Regulatory Reform (Fire Safety) Order 2005**](http://www.legislation.gov.uk/uksi/2005/1541/contents/made).

|  |  |
| --- | --- |
| Date on which notice served: | 26.01.2021 |
| Name of Organisation: | Skyline Superior Living, Heelis Street, Barnsley, S70 1LB. |
| Type of notice served: | Enforcement |
| Details: | **Article 8 (1) (b)**To take such general fire precautions as will ensure the safety of persons who are not his employees**Article 9 (1)** The Fire Safety Risk Assessment was not suitable and sufficient**Article 14 (2) (a)**The escape routes did not lead, as directly as possible, to a place of safety.**Article 17 (1)**The structural and passive fire precautions are inadequately maintained **Article 38 (1), (2), (3), (4) & (5)**To maintain and keep in efficient working order facilities, equipment and devices provided for the use by, or protection of, fire-fighters on your premises |
| Reference No: | EN.NA.687 |
| Date Withdrawn | **19.07.2021** |

|  |  |
| --- | --- |
| Date on which notice served: | 16.09.2020 |
| Name of Organisation: | Chico’s, 21 King Street, Hoyland, Barnsley, S74 9JU. |
| Type of notice served: | Prohibition  |
| Details: | An unsatisfactory means of escape from the first floorAn absence of a means of giving warning in case of fire |
| Reference No: | PN.NA.676 |
| Date Withdrawn | **28.10.2021** |

|  |  |
| --- | --- |
| Date on which notice served: | 18.11.19 |
| Name of Organisation: | H B Furniture Clearance, 34 Shambles Street, Barnsley, S70 2SH. |
| Type of notice served: | Enforcement |
| Details: | **Article 9 (1)**A Fire Safety Risk Assessment has not been carried out.**Article 10**Preventative and protective measures have not been implemented in accordance with the principles of prevention as specified in Part 3 of Schedule 1 of the Regulatory Reform (Fire Safety) Order 2005**Article 13 (1) (a) & 13 (2)**The fire warning system is inadequate**Article 13 (1) (a) & 13 (2)**The firefighting equipment is inadequate**Article 14 (1)**The escape routes were obstructed**Article 14 (2) (a)**The escape routes did not lead, as directly as possible, to a place of safety.**Article 14 (2) (h)**The escape routes were not adequately lit **Article 21 (2) (a)**Inadequate safety training is provided to enable the employees to safeguard themselves and other persons on the premises |
| Reference No: | PN.NA.653 |
| Date of compliance of notice: | **05.08.2020** |

|  |  |
| --- | --- |
| Date on which notice served: | 30.10.19 |
| Name of Organisation: | Wembley Works, Hemingfield Road, Wombwell, Barnsley, S73 0LY. |
| Type of notice served: | Enforcement |
| Details: | **Article 8 (1) (a)**To take such general fire precautions as will ensure the safety of employees.**Article 9 (1)**A Fire Safety Risk Assessment has not been carried out.**Article 10**Preventative and protective measures have not been implemented in accordance with the principles of prevention as specified in Part 3 of Schedule 1 of the Regulatory Reform (Fire Safety) Order 2005**Article 13 (1) (a) & 13 (2)**The fire warning system is inadequate**Article 14 (1)**The escape routes were obstructed**Article 14 (2) (b)**The escape routes and exits could not be used as quickly and as safely as possible**Article 14 (2) (f)**Fire exits and doors on escape routes could not be easily and immediately opened from the inside**Article 14 (2) (g)**The escape routes were not provided with adequate signage **Article 14 (2) (h)**The escape routes did not have adequate emergency lighting in case of failure of normal lighting circuits**Article 15 (1) (a)**Insufficient evacuation procedures and/or evacuation drills to be followed in the event of serious and imminent danger are in place**Article 17 (1)**The passive fire precautions are inadequately maintained **Article 17 (1)**The manual fire fighting equipment is inadequately maintained**Article 17 (1)**The emergency lighting is inadequately maintained**Article 21 (1) (a)**Inadequate safety training is provided to employees at the time when they are first employed |
| Reference No: | EN.NA.650 |
| Date of compliance of notice: | **16.03.2020** |

|  |  |
| --- | --- |
| Date on which notice served: | 24.10.19 |
| Name of Organisation: | Chico’s, 21 King Street, Hoyland, Barnsley, S74 9JU. |
| Type of notice served: | Prohibition  |
| Details: | An unsatisfactory means of escape from the first floorAn absence of a means of giving warning in case of fire |
| Reference No: | PN.NA.649 |
| Date Withdrawn | **11.09.2020** |

|  |  |
| --- | --- |
| Date on which notice served: | 24.09.19 |
| Name of Organisation: | Pasha Restaurant, 41 Market Street, Barnsley, S70 1SN. |
| Type of notice served: | Prohibition  |
| Details: | There are unsatisfactory means of escape from the first and second floors due to:- inadequate passive fire safety measures, and inadequate means of detection and warning in the event of fire. |
| Reference No: | PN.NA.645 |
| Date of compliance of notice: |  |