**South Yorkshire Fire and Rescue**



**Rotherham District - Public Register of Notices Serviced – April 2023 to March 2025**

The Enforcement Register – This register details Enforcement, Prohibition and Alteration Notices that have been served on business premises under the [**Regulatory Reform (Fire Safety) Order 2005**](http://www.legislation.gov.uk/uksi/2005/1541/contents/made)

|  |  |
| --- | --- |
| Date on which notice served: | 02.01.2024 |
| Name and Address of Premises: | Broadacres Care Home, Naylor Street, Rotherham, S62 6BP |
| Premises Type: | Nursing home |
| Type of notice served: | Enforcement |
| Details: | **Article 8 (1) (a)**  To take such general fire precautions as will ensure the safety of employees and those who are not their employees.  **Article 8 (1) (b)**  To take such general fire precautions as will ensure the safety of persons who are not his employees  **Article 9 (1)**  The Fire Safety Risk Assessment was not suitable and sufficient  **Article 14 (2) (b)**  The escape routes and exits could not be used as quickly and as safely as possible  **Article 15 (1) (a)**  Insufficient evacuation procedures and/or evacuation drills to be followed in the event of serious and imminent danger are in place  **Article 17 (1)**  The structural fire precautions are inadequately maintained  **Article 21 (1) (a)**  Inadequate safety training is provided to employees at the time when they are first employed |
| Reference No: | EN/ND/906 |
| Date Notice Complied: |  |

|  |  |
| --- | --- |
| Date on which notice served: | 24.08.2023 |
| Name and Address of Premises: | The Beeches, 3 Carr Road, Wath upon Dearne, Rotherham S63 7AA |
| Premises Type: | Nursing Home |
| Type of notice served: | Enforcement |
| Details: | **Article 8 (1) (b)**  To take such general fire precautions as will ensure the safety of persons who are not his employees.  **Article 9 (1)**  The Fire Safety Risk Assessment was not suitable and sufficient |
| Reference No: | EN/ND/866 |
| Date Notice Withdrawn: | **04.01.2024** |

|  |  |
| --- | --- |
| Date on which notice served: | 04.04.2023 |
| Name and Address of Premises: | Expressway Coaches, Derwent Way, Wath West Industrial Estate, Wath-upon-Dearne, Rotherham, S63 6EX |
| Premises Type: | Ancillary Sleeping Above Business Premises |
| Type of notice served: | Prohibition |
| Details: | The Fire and Rescue Authority are further of the opinion that the matter(s) which give rise to the said risk is:  Inadequate Means of Detection and Warning |
| Reference No: | PN.ND.833 |
| Date Notice Withdrawn: | **17.04.2023** |