**South Yorkshire Fire and Rescue**



**Barnsley District - Public Register of Notices Serviced – April 2023 to March 2025**

The Enforcement Register – This register details Enforcement, Prohibition and Alteration Notices that have been served on business premises under the [**Regulatory Reform (Fire Safety) Order 2005**](http://www.legislation.gov.uk/uksi/2005/1541/contents/made).

|  |  |
| --- | --- |
| Date on which notice served: | 09/04/2024 |
| Name and Address of Premises: | The Permanent Building, Church Street, Barnsley, S70 2EH |
| Premises Type: | Building Converted to Flats 1-3 Storeys |
| Type of notice served: | Enforcement |
| Details: | **Article 9 (1)**The Fire Safety Risk Assessment was not suitable and sufficient.**Article 10 and as specified in Part 3 of Schedule 1**Preventative and protective measures have not been implemented in accordance with the principles of prevention as specified in Part 3 of Schedule 1 of the Regulatory Reform (Fire Safety) Order 2005.**Article 13 (1) (a) & 13 (2)**The fire detection system is inadequate.**Article 14 (2) (b)**The escape routes and exits could not be used as quickly and as safely as possible. |
| Reference No: | **EN/NA/939** |
| Date of compliance of notice: |  |

|  |  |
| --- | --- |
| Date on which notice served: | 14/03/2024 |
| Name and Address of Premises: | Taste of China, 198 High Street, Worsborough, Barnsley, S70 4SQ |
| Premises Type: | Ancillary Sleeping above Business Premises |
| Type of notice served: | Enforcement |
| Details: | **Article 9 (1)**A Fire Safety Risk Assessment has not been carried out.**Article 13 (1) (a) & 13 (2)**The fire detection system is inadequate.The fire warning system is inadequate.The fire fighting equipment is inadequate.**Article 14 (2) (a)**The escape routes did not lead, as directly as possible, to a place of safety.**Article 14 (2) (b)**The escape routes and exits could not be used as quickly and as safely as possible.**Article 14 (2) (h)**The escape routes were not adequately lit.**Article 21 (1) (a)**Inadequate safety training is provided to employees at the time when they are first employed. |
| Reference No: | **EN/NA/930** |
| Date of compliance of notice: |  |

|  |  |
| --- | --- |
| Date on which notice served: | 01.02.2024 |
| Name and Address of Premises: | United Fried Chicken, 299 Barnsley Road, Cudworth, Barnsley, S72 8SY |
| Premises Type: | Shop (Takeaway) |
| Type of notice served: | Alterations |
| Details: | South Yorkshire Fire and Rescue Authority is of the opinion that the premises **constitute a serious risk to relevant persons if the premises are used as sleeping accommodation at any time by any person**. |
| Reference No: | **IN.NA.920** |
| Date of compliance of notice: |  |

|  |  |
| --- | --- |
| Date on which notice served: | 30.10.2023 |
| Name and Address of Premises: | Taste of China, 198 High Street, Worsbrough, Barnsley, S70 4SQ |
| Premises Type: | Ancillary Sleeping above Business Premises |
| Type of notice served: | Prohibition |
| Details: | Inadequate means of detection and warning and inadequate means of escape. |
| Reference No: | **PN/NA/885** |
| Date of compliance of notice: |  |

|  |  |
| --- | --- |
| Date on which notice served: | 04.10.2023 |
| Name and Address of Premises: | Yummy House, 236 Midland Road, Royston, Barnsley, S71 4BP |
| Premises Type: | Other Sleeping Accommodation |
| Type of notice served: | Enforcement |
| Details: | **Article 13 (1) (a) & 13 (2)**The fire warning system is inadequate |
| Reference No: | **EN.NA.873** |
| Date of compliance of notice: | **24.01.2024** |

|  |  |
| --- | --- |
| Date on which notice served: | 23.10.2023 |
| Name and Address of Premises: | What U Like, 16 High Street, Grimethorpe, Barnsley, S72 7LS |
| Premises Type: | Shop |
| Type of notice served: | Prohibition |
| Details: | The Fire and Rescue Authority are further of the opinion that the matter(s) which give rise to the said risk are:There is no fire resisting separation between the commercial kitchen and the means of escape from the upper floor. There is also no means of detecting a fire and giving warning to those sleeping on the upper floor. Any fire in the commercial kitchen will result in heat and/or smoke filling the escape route and the upper floor of the premises, potentially overcoming people while they sleep or preventing them from making a safe escape from the premises. |
| Reference No: | **PN.NA.881** |
| Date of compliance of notice: |  |

|  |  |
| --- | --- |
| Date on which notice served: | 12.09.2023 |
| Name and Address of Premises: | Golden House, 208 Pontefract Road, Barnsley S71 5QP |
| Premises Type: | Other Sleeping Accommodation |
| Type of notice served: | Alterations |
| Details: | **Article 13 and 14**South Yorkshire Fire and Rescue Authority is of the opinion that the premises constitute a serious risk to relevant persons because * There is inadequate means of warning and detection, and unsafe means of escape in the event of a fire.
* The 1st floor of the premises must not be used for sleeping accommodation at any time and must only be used for storage and retrieval purpose.
 |
| Reference No: | **IN.NA.867** |
| Date of compliance of notice: |  |

|  |  |
| --- | --- |
| Date on which notice served: | 05.07.2023 |
| Name and Address of Premises: | Autumn House Nursing Home Ltd, 2 Station Road, Worsbrough, Barnsley, S70 4SY |
| Premises Type: | Care Home |
| Type of notice served: | Enforcement |
| Details: | **Article 8**To take such general fire precautions as will ensure the safety of employees and those who are not their employees**Article 8 (1) (b)**To take such general fire precautions as will ensure the safety of persons who are not his employees**Article 10**Preventative and protective measures have not been implemented in accordance with the principles of prevention as specified in Part 3 of Schedule 1 of the Regulatory Reform (Fire Safety) Order 2005**Article 11 (1) & (2)**Evidence that suitable fire safety arrangements are in place was not available at the time of the visit.**Article 13 (1) (a) & 13 (2)**The fire detection system is inadequate**Article 14 (2) (b)**The escape routes and exits could not be used as quickly and as safely as possible**Article 17 (1)**The fire alarm system is inadequately maintained**Article 17 (1)**The emergency lighting is inadequately maintained**Article 21 (1) (a)**Inadequate safety training is provided to employees at the time when they are first employed**Article 21 (2) (b**)Safety training to employees is not repeated periodically |
| Reference No: | **EN.NA.857** |
| Date notice withdrawn: | **23.01.2024** |

|  |  |
| --- | --- |
| Date on which notice served: | 14.06.2023 |
| Name and Address of Premises: | Woodlands Lodge,106 Hawshaw Lane, Hoyland, Barnsley S74 0HH |
| Premises Type: | Care Home |
| Type of notice served: | Enforcement |
| Details: | **Article 8 (1) (b)**To take such general fire precautions as will ensure the safety of persons who are not his employees**Article 9 (1)**The Fire Safety Risk Assessment was not suitable and sufficient**Article 13 (3) (b) & 13 (4)**Insufficient competent persons have been nominated to implement fire fighting measures**Article 14 (2) (b)**The escape routes and exits could not be used as quickly and as safely as possible**Article 17 (1)**The structural fire precautions are inadequately maintained **Article 17 (1)**The emergency lighting is inadequately maintained**Article 21 (2) (a)**Inadequate safety training is provided to enable the employees to safeguard themselves and other persons on the premises |
| Reference No: | **EN.NA.852** |
| Date of compliance of notice: | **07.09.2023** |

|  |  |
| --- | --- |
| Date on which notice served: | 18.05.2023 |
| Name and Address of Premises: | Yummy House, 236 Midland Road, Royston, Barnsley, S71 4BP |
| Premises Type: | Other Sleeping Accommodation |
| Type of notice served: | Enforcement |
| Details: | **Article 8 (1) (a)**To take such general fire precautions as will ensure the safety of employees and those who are not their employees.**Article 13 (1) (a) & 13 (2)**The fire detection system is inadequate**Article 13 (3) (a)**Measures for fire fighting in the premises is inadequate**Article 14 (2) (f)**Fire exits and doors on escape routes could not be easily and immediately opened from the inside. |
| Reference No: | **EN.NA.845** |
| Date of compliance of notice: | **26.09.2023** |